# Offer compliance checklist matrix

# LOT 1 PED

# 1. INTRODUCTION AND BACKGROUND

## 1.2 Contract context

| Requirement | General description | Verification method |
| --- | --- | --- |
| HES Capability | "A robust Head End System (HES) for real-time communication and data collection" | Technical datasheets, architecture documents |
| MDMS Capability | "A comprehensive Meter Data Management System (MDMS) for data storage, validation, analysis, and reporting" | Product specifications, feature matrix |
| ADMS Integration | "Full integration with the existing Advanced Distribution Management System (ADMS)" | Offer evaluation: Integration architecture; Acceptance (handover): Integration testing |
| Interoperability | "Interoperability with third-party systems, owned and operated by Beneficiary, through standardized interfaces" | Offer evaluation: API documentation; Acceptance (handover): Interface testing |
| Scalability | "Must accommodate both existing operational meters and future deployments" | Scalability design documents, reference implementations |

# 2. OBJECTIVES

## 2.2 Specific objectives

Objective 1: Deployment of a scalable HES platform

| Sub-requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Real-time bi-directional communication | Protocol support documentation |  |
| Multiple communication technologies | Technology compatibility matrix |  |
| Minimum 500K messages/hour | Load test results from other deployments |  |

Objective 2: Implement a comprehensive MDMS

| Sub-requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| VEE algorithms | Algorithm documentation, rule sets |  |
| Hourly/sub-hourly intervals | Product specifications |  |
| Advanced analytics | Analytics module documentation |  |

Objective 3: Ensure system integration

| Sub-requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| ADMS integration | Integration architecture, API specs |  |
| CIM/IEC 61968 support | Standards compliance certificates |  |
| API support | API documentation |  |
| GIS visualization | GIS integration examples |  |

Objective 4: Enhance operational capabilities

| Sub-requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Outage detection | Feature documentation |  |
| Loss detection | Algorithm documentation |  |

Objective 5: Ensure compliance and security

| Sub-requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| GDPR compliance | Compliance certificates, privacy design |  |
| Cybersecurity measures | Security architecture, certifications |  |
| Audit trails | Audit functionality documentation |  |
| Regulatory reporting | Report templates |  |

# 3. SCOPE OF WORK

## 3.1 General scope - classification

1. Software provisioning

| Item | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| HES/MDMS inclusive licenses(if applicable) for minim um 100k meters, which will be gradually implemented during the development, roll-out and support stages according to the future agreement | License(if applicable) model documentation |  |
| Necessary modules | Module list and descriptions |  |
| Development tools | Tool documentation |  |
| Integration middleware and APIs | Middleware and APIs specifications |  |

2. Professional services

| Item | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Requirements analysis, preliminary available BPMN(Annex no.1) validation through the re-mapping of the business processes by implementation team and customized solution design | Methodology documentation |  |
| Training | Training curriculum |  |
| Documentation | Documentation samples |  |
| Support & maintenance | Service-level requirements documentation |  |

3. Infrastructure design

| Item | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Hardware sizing | Sizing methodology and tools, and required specifications for proper computing performance (CPU/RAM/Storage) |  |
| Network architecture | Architecture diagrams |  |
| Database design | Database architecture |  |
| DR/BCP planning | DR/BCP plan template |  |

## 3.2 Technical scope – classification

| Requirement | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Multi-vendor meter support | Compatibility matrix |  |
| Multi-protocol communication | Protocol support documentation |  |
| Multi-technology communication | Technology support matrix |  |
| Scalability to 1.5M meters | Scalability architecture |  |
| Minimum 96 interval reads/meter/day – up to 288 interval reads/meter/day (subject of technical constraints for PLC technology & data exchange infrastructure) | Performance specifications |  |
| 99.9% uptime | HA architecture |  |

## 3.3 Functional scope – classification

3.3.1 HES functions:

| Function | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Device management | Feature documentation |  |
| Communication management | Management interface docs |  |
| Event management | Event handling documentation |  |
| Security key management | Security documentation |  |
| FOTA updates | FOTA capability docs |  |

3.3.2 MDMS functions:

| Function | Offer evaluation | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| VEE | VEE rule documentation |  |
| Data aggregation | Calculation methods |  |
| Load profiling | Profiling algorithms |  |
| Loss calculations/ Energetic Balances | Calculation methodology |  |
| Billing determinants | Billing interface docs |  |
| Reporting/analytics | Report samples |  |
| Data archival | Archival strategy |  |
| Web portal with secure access for end customers | Feature documentation |  |
| Security, audit, and compliance | Feature documentation |  |

# 4. CONTRACT IMPLEMENTATION APPROACH AND METHODOLOGY

## 4.1 Implementation approach - classification

The contract implementation shall follow an iterative, phased approach with clear milestones and deliverables:

Phase 1: Inception and design (months 1-2)

| Sub-Phase | Duration | Offer evaluation items | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| Phase 1.1: AS-IS Analysis | Months 1-2 | • Requirements gathering methodology; • Current process analysis approach; • BPMN analysis tools; • Stakeholder engagement plan |  |
| Phase 1.2: TO-BE Design | Months 2-3 | • Solution architecture approach; • Design templates and tools; • Integration strategy; • TO-BE design methodology |  |

Phase 1.1: AS-IS analysis

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Requirements gathering methodology | • Methodology documentation; • BPMN analysis tools; • Requirements templates; • Stakeholder mapping | - |
| Current state analysis | • Process analysis framework; • Documentation standards; • Analysis tools |  |

Phase 1.2: TO-BE design

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Solution architecture | • Reference architectures; • Design principles; • Technology stack; • TO-BE design templates |  |
| Infrastructure planning | • Sizing methodology; • Planning tools; • Reference implementations; • Capacity planning approach |  |
| Integration specifications | • Integration patterns; • API frameworks; • Sample specifications; • Data flow designs |  |

Phase 2: Development and configuration (months 3-6)

| Activity | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| System installation procedures | • Installation guides; • Deployment tools; • Automation scripts |  |
| Customization capability | • Customization framework; • Examples from other projects; • Development tools |  |
| Data migration approach | • Migration methodology; • Tools and scripts; • Success stories |  |
| Source code delivery | • Description of code ownership and delivery approach |  |

Phase 3: Testing and validation (months 9-10)

| Test Type | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Test methodology | • Test strategy documents; • Test case templates; • Automation framework |  |
| Performance testing | • Performance test tools; • Benchmark results from similar projects |  |
| UAT approach | • UAT methodology; • Training plans for testers |  |
| Security testing | • Security test methodology; • Penetration test examples |  |

Phase 4: Deployment and commissioning (months 11-12)

| Activity | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Deployment methodology | • Deployment procedures; • Rollback plans; • Go-live checklists |  |
| Pilot approach | • Pilot methodology; • Selection criteria; • Success metrics |  |
| Commissioning process | • Commissioning checklists; • Handover procedures, including source code repository and IP rights transfer |  |

Phase 5: Post-implementation support and maintenance (months 11-22 + lifespan = minimum 60 months after roll-out / implementation)

| Support Period | Duration | Requirements | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| Warranty, support and maintenance period after roll-out included in the offer | Months 11-22 (minimum 12 months after deployment on the Beneficiary production environment to be included in the offer) | • Service-level requirements documentation; • Support and maintenance(both preventive and maintenance) procedures; • Team structure; • Escalation matrix |  |
| Extended lifespan operational continuity | Months starting with 1st after roll-out (implementation) up to minimum 60 in total | • Maintenance (preventive and corrective) pricing; • Maintenance (adaptive and future developments / integrations) pricing estimates; • Support options; • Update/upgrade policy; • Technology refresh plan |  |

## 4.2 Contract project management methodology - classification

| Requirement | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| PM methodology (PMBOK/PRINCE2) | • PM certification of team; • Methodology documentation; • Template samples |  |
| Agile/Scrum approach | • Agile experience evidence; • Sprint planning examples; • Tools used |  |
| Progress reporting | • Report templates; • Dashboard examples; • Communication plan |  |
| Risk management | • Risk methodology; • Risk register template; • Mitigation strategies |  |
| Quality assurance | • QA procedures; • Quality metrics; • Review processes |  |

# 5. DELIVERABLES AND TIMELINE

## 5.1 Key deliverables – within evaluation stages

1. Contract project management deliverables

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Contract project charter template | Sample charter |  |
| Management plan approach | Plan template and methodology |  |
| Decision makers presentations | Presentation template |  |
| Risk/issue registers | Register templates |  |
| Change management | Change process documentation |  |

2. Technical deliverables

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Solution architecture | • Reference architectures; • Design principles |  |
| Design specifications | • Specification templates; • Examples |  |
| Integration specs | • Integration framework; • API standards |  |
| Test plans / cases | • Test methodology; • Templates |  |

3. System deliverables

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| HES/MDMS platform | • Product documentation; • Architecture |  |
| Integration components | • API framework; • Middleware specs |  |
| Custom reports | • Report samples; • Reporting engine |  |
| Migration tools | • Tool documentation; • Methodology |  |
| Monitoring tools | • Tool specifications; • Dashboards |  |

4. Documentation deliverables

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Documentation standards | • Documentation templates; • Style guides; • Sample documents |  |
| API documentation | • API standards; • Documentation tools |  |

5. Training deliverables

| Deliverable | Offer evidence | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Training methodology | • Training approach; • Certification programs; • Success metrics |  |
| Needs assessment | • Assessment methodology; • Templates |  |
| Training materials | • Sample materials; • Course outlines |  |

# TERMS OF REFERENCE - PART II

# FUNCTIONAL REQUIREMENTS AND TECHNICAL SPECIFICATIONS

# 6. GENERAL PLATFORM REQUIREMENTS

## 6.1 Solution architecture requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| GR-001 | Unified web-based interface: Single, integrated web interface for both HES and MDMS to streamline end-to-end operations and provide consistent user experience | • UI/UX design documentation; • Screenshots of unified interface; • User workflow demonstrations; • Training cost analysis |  |
| GR-002 | End-to-End (E2E) integrated system: Seamless data flow from meter acquisition through validation to export to third-party systems without fragmented architectures | • System integration architecture; • Data flow diagrams; • Integration points documentation; • No subsystem dependencies proof |  |
| GR-003 | Deployment-Agnostic Architecture: Support for on-premise, cloud-based, or hybrid environments without architectural redesign | • Multi-deployment architecture diagrams; • Environment compatibility matrix; • Migration methodology; • Configuration management approach |  |
| GR-004 | Hyperscaler Cloud Support: Deployable on AWS, Microsoft Azure, or Google Cloud Platform with modern IT and cybersecurity standards compliance | • Cloud provider certification; • Deployment guides for each platform; • Security compliance documentation; • Cloud-native architecture proof |  |
| GR-005 | Proven Scalability: Demonstrated horizontal and vertical scalability for 1+ million smart meters in live operation with performance references | • Scalability architecture documentation; • Performance references >1M meters; • Customer testimonials with contact details; • Live deployment evidence; • Scaling methodology |  |
| GR-006 | Unified Inventory Management: Centralized, real-time synchronized inventory covering both HES and MDMS domains with all device-related attributes | • Inventory management architecture; • Real-time synchronization design; • Device attribute schema; • Integration with HES/MDMS workflows |  |
| GR-007 | High Availability (1+1 Configuration): Redundant architecture with automated failover capabilities to ensure continuous operation | • HA architecture diagrams; • Redundancy design documentation; • Failover mechanisms; • Recovery procedures |  |
| GR-008 | Open Architecture with APIs: Comprehensive API framework supporting third-party integrations and future extensibility | • Complete API documentation; • Integration framework specifications; • SDK/sample code provision; • API versioning strategy |  |
| GR-009 | Mature Commercial Platform: Proven market presence with 3+ years commercial availability and 3+ deployments >100k meters | • Product release history (3+ years); • Reference deployments >100k meters; • Customer reference letters with contacts; • Market presence documentation |  |
| GR-010 | Advanced Security Framework: Enterprise-grade security with role-based access, audit trails, and cybersecurity compliance for smart grid environments | • Security architecture documentation; • Compliance certifications; • Role-based access design; • Audit trail specifications |  |

## 6.2 Vendor neutrality and interoperability

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| GR-011 | Vendor-neutral platform | • Multi-vendor support documentation; • Protocol abstraction layer design; • Integration examples |  |
| GR-012 | Meter brands integration | • Compatibility matrix; • Integration guides per brand; • Certification letters |  |
| GR-013 | Third-party HES integration | • Integration framework; • API specifications; • Past integration examples |  |
| GR-014 | Standard interfaces | • Interface specifications; • Integration patterns; • Protocol support |  |

## 6.3 Standards compliance

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| GR-015 | Protocol support (DLMS, OSGP, DSMR, MODBUS and M-BUS) | • Protocol implementation docs; • Compliance certificates; • Test results from labs |  |
| GR-016 | CIM IEC 61968-9 | • CIM compliance certificate; • Data model documentation; • Implementation guide |  |
| GR-017 | IEC 61850 support | • Technical documentation; • Integration examples |  |
| GR-018 | GDPR compliance | • Privacy by design documentation; • Data flow diagrams; • Compliance assessment |  |

## 6.4 Performance and scalability

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| GR-019 | Minimum 100 k meters with 15-min intervals | • Architecture for scale; • Sizing calculations; • Reference deployments |  |
| GR-021 | 1.25M messages/hour | • Performance benchmarks; • Architecture design; • Queueing strategy |  |
| GR-022 | 5-year storage, sub-second query | • Database design; • Partitioning strategy; • Index optimization |  |

## 6.5 Availability and reliability

| Req ID | Requirement description | Evaluation stage | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- | --- |
| GR-024 | RPO ≤ 15 minutes | Both | • Backup architecture; • Replication design |  |
| GR-025 | RTO ≤ 1 hour | Both | • DR procedures; • Recovery automation |  |
| GR-026 | Automatic failover | Both | • Failover design; • Cluster configuration |  |

# 7. HES FUNCTIONAL REQUIREMENTS

## 7.1 Data collection and management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-001 | Scheduled reading with intervals | • Scheduler design; • Configuration options; • Performance impact |  |
| HES-FR-002 | Push/pull modes | • Architecture for both modes; • Protocol support; • Use case examples |  |
| HES-FR-004 | Data concentrator support | • DC integration architecture; • Supported models; • Management features |  |
| HES-FR-005 | Missing data handling | • Retry logic design; • Gap detection; • Recovery procedures |  |
| HES-FR-006 | Multiple data types | • Data model documentation; • Storage design; • Processing logic |  |
| HES-FR-007 | Bi-directional data | • Prosumer support design; • Net metering logic; • Data flows |  |
| HES-FR-008 | Manual import | • Import formats; • Validation rules; • UI design |  |

## 7.2 Remote management and control

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-009 | Remote disconnect/ reconnect | • Security procedures; • Command flow; • Audit mechanism |  |
| HES-FR-010 | Load limitation | • Load control design; • DR integration; • Priority logic |  |
| HES-FR-011 | Prepayment (Optional) | • Prepayment logic; • Credit management; • Integration design |  |
| HES-FR-012 | Tariff/TOU config | • Tariff structures; • Configuration UI; • Validation rules |  |
| HES-FR-013 | Command queuing | • Queue management; • Priority algorithm; • Status tracking |  |
| HES-FR-014 | Command retry | • Retry logic; • Status updates; • Failure handling |  |

## 7.3 Device configuration and management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-015 | Remote configuration of communication parameters | • Configuration interface documentation; • Parameter types supported; • Security mechanisms for remote config; • Example configuration templates; • Reference implementation evidence |  |
| HES-FR-016 | Time synchronization for meters and data concentrators with < 1 second accuracy | • Time sync protocol documentation; • NTP/SNTP implementation details; • Accuracy calculation methodology; • Time zone handling approach; • DST transition procedures |  |
| HES-FR-017 | Remote firmware upgrade capability (FOTA) with rollback option | • FOTA architecture documentation; • Rollback mechanism design; • Security measures for firmware; • Batch update procedures; • Success rate from deployments |  |
| HES-FR-018 | Device lifecycle management (commissioning, decommissioning, replacement) | • Lifecycle workflow diagrams; • State transition documentation; • Integration with asset management; • Audit trail mechanisms; • Bulk operation support |  |
| HES-FR-019 | Automated device provisioning and discovery | • Auto-discovery protocol details; • Provisioning workflow automation; • Security during provisioning; • Bulk provisioning capabilities; • Network scanning approach |  |
| HES-FR-020 | Device health monitoring and diagnostics | • Health metrics collected; • Diagnostic capabilities list; • Alert threshold configuration; • Dashboard mockups; • Historical trend analysis |  |

## 7.4 Communication management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-021 | Support for multiple communication technologies: PLC (PRIME, G3-PLC, OSGP), DSMR, Serial RS485, RF Mesh, Cellular (2G/3G/4G/5G), Ethernet | • Communication architecture diagrams; • Protocol stack documentation; • Performance data per technology; • Simultaneous handling design; • Reference deployments per type |  |
| HES-FR-022 | Communication path optimization and automatic rerouting | • Path optimization algorithms; • Rerouting trigger conditions; • Mesh network capabilities; • Failover time specifications; • Network topology adaptation |  |
| HES-FR-023 | Bandwidth management and traffic prioritization | • Bandwidth allocation design; • QoS implementation details; • Priority queue mechanisms; • Traffic shaping capabilities; • Congestion handling |  |
| HES-FR-024 | Support for IPv4 and IPv6 addressing | • Dual-stack implementation; • Address management design; • Migration path documentation; • NAT/firewall considerations; • Security implications |  |
| HES-FR-025 | VPN support for secure communications | • VPN architecture design; • Supported VPN protocols; • Key management approach; • Performance impact analysis; • Scalability considerations |  |

## 7.5 Security management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-026 | DLMS/COSEM and OSGP security suites implementation (authentication, encryption) | • Security suite documentation; • Cipher suite specifications; • Authentication mechanisms; • Key exchange protocols; • Compliance certificates |  |
| HES-FR-027 | Key management system for security keys and certificates | • Key lifecycle management design; • Certificate authority integration; • Key storage architecture; • Rotation procedures; • Recovery mechanisms |  |
| HES-FR-028 | Role-based access control (RBAC) with audit trails | • RBAC model documentation; • Role definitions and permissions; • Audit trail architecture; • Compliance mapping; • Integration with enterprise IAM |  |
| HES-FR-029 | Support for Hardware Security Modules (HSM) | • HSM integration architecture; • Supported HSM models; • Performance considerations; • Key operations supported; • Failover design |  |
| HES-FR-030 | Encrypted data storage and transmission | • Encryption architecture; • Algorithm specifications; • Key management integration; • Performance impact data; • Compliance documentation |  |

## 7.6 Event and alarm management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-031 | Real-time event processing and notification | • Event processing architecture; • Notification mechanisms; • Latency specifications; • Scalability design; • Event categorization |  |
| HES-FR-032 | Configurable alarm thresholds and escalation rules | • Alarm configuration interface; • Threshold types supported; • Escalation workflow engine; • Rule definition examples; • Override mechanisms |  |
| HES-FR-033 | Event correlation and root cause analysis | • Correlation engine design; • Analysis algorithms; • Pattern recognition capabilities; • Machine learning integration; • Visualization approach |  |
| HES-FR-034 | Integration with SCADA/DMS for outage management | • Integration architecture; • Protocol specifications; • Data mapping documentation; • Latency requirements; • Redundancy design |  |
| HES-FR-035 | Power quality event detection and reporting | • PQ parameters monitored; • Detection algorithms; • Reporting templates; • Threshold configurations; • Standards compliance |  |

## 7.7 Meter brand compatibility

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-036 | Full integration support for ADD (All ADDAX models) | • Integration documentation; • Protocol implementation proof; • Feature support matrix; • Test lab results; • Reference deployments |  |
| HES-FR-037 | Full integration support for NIK ELECTRONIKA (2100 and 2300 series) | • Model-specific documentation; • Communication protocols used; • Feature compatibility list; • Integration certificates; • Performance benchmarks |  |
| HES-FR-038 | Full integration support for LANDIS+GYR (ZMD, ZMG and ZMY series) | • L+G certification documents; • Protocol compliance proof; • Security implementation; • Feature coverage matrix; • Integration examples |  |
| HES-FR-039 | Full integration support for ZIV (5CTB series) | • ZIV integration guide; • Protocol specifications; • Supported features list; • Test results documentation; • Known limitations |  |
| HES-FR-040 | Full integration support for APATOR (smartESOX and OTUS1/3 models) | • APATOR compatibility docs; • Feature support details; • Communication methods; • Security compliance; • Reference sites |  |
| HES-FR-041 | Full integration support for ISKRAEMECO (MT and ME series) | • ISKRA protocol docs; • Integration architecture; • Feature mapping; • Performance data; • Deployment examples |  |
| HES-FR-042 | Full integration support for LUNA (LSM series) | • LUNA integration specs; • Protocol implementation; • Feature compatibility; • Test lab results; • Support documentation |  |
| HES-FR-043 | Full integration support for ABB (Alpha 2 model) | • ABB Alpha 2 documentation; • Protocol compliance; • Feature coverage; • Security implementation; • Performance metrics |  |
| HES-FR-044 | Full integration support for ELSTER (A1800 model) | • ELSTER integration guide; • A1800 specific features; • Communication protocols; • Test certifications; • Deployment evidence |  |
| HES-FR-045 | Full integration support for ELGAMA (GAMA 3000 model) | • ELGAMA protocol docs; • Integration specifications; • Feature support matrix; • Security compliance; • Reference deployments |  |
| HES-FR-046 | Full integration support for METCOM (MCS301) | • METCOM integration docs; • MCS301 specifications; • Protocol implementation; • Feature coverage; • Test results |  |

## 7.8 Data analytics and reporting

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-047 | Real-time dashboard with key performance indicators | • Dashboard design mockups; • KPI definitions and calculations; • Refresh rate specifications; • User role customization; • Performance optimization |  |
| HES-FR-048 | Configurable reports for operational and management needs | • Report template library; • Configuration interface; • Scheduling capabilities; • Distribution mechanisms; • Sample report outputs |  |
| HES-FR-049 | Data export capabilities (CSV, XML, JSON) | • Export format specifications; • Data mapping documentation; • Performance specifications; • Compression options; • API documentation |  |
| HES-FR-050 | API for external analytics platforms | • API documentation (OpenAPI); • Authentication methods; • Rate limiting design; • Data models exposed; • Integration examples |  |

## 7.9 Optional functionalities

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-FR-051 | Integration with Asset Management platforms | • Integration architecture; • Data synchronization design; • API specifications; • Workflow integration; • Reference implementations |  |

# 8. HES TECHNICAL SPECIFICATIONS

## 8.1 Architecture requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-T-001 | Multi-tier architecture (presentation, business logic, data layers) | • Detailed architecture diagrams showing tier separation; • Component deployment model; • Inter-tier communication protocols; • Scalability approach per tier; • Security boundaries documentation |  |
| HES-T-002 | Microservices or service-oriented architecture for modularity | • Service decomposition documentation; • Service catalog with responsibilities; • Inter-service communication design; • Service discovery mechanism; • Container orchestration approach |  |
| HES-T-003 | Container support (Docker/Kubernetes) for deployment | • Container architecture design; • Dockerfile/manifest examples; • Orchestration configuration; • Resource requirements; • CI/CD pipeline integration |  |
| HES-T-004 | RESTful API architecture with OpenAPI documentation | • Complete OpenAPI 3.0 specifications; • API design principles document; • Versioning strategy; • Authentication / authorization design; • Sample API responses |  |

## 8.2 Technology stack requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-T-005 | Database: Enterprise-grade RDBMS (i.e. Oracle, PostgreSQL, SQL Server) | • Database selection justification; • Schema design documentation; • Performance benchmarks; • HA/DR configuration; |  |
| HES-T-006 | Support for time-series databases for meter data | • Time-series DB architecture; • Data retention policies; • Compression strategies; • Query optimization approach; • Integration with RDBMS |  |
| HES-T-007 | Message queuing system for asynchronous processing | • Message queue selection rationale; • Queue architecture design; • Message schemas documentation; • Reliability guarantees; • Performance specifications |  |
| HES-T-008 | In-memory caching for performance optimization | • Caching strategy documentation; • Cache architecture design; • TTL and eviction policies; • Cache warming procedures; • Performance impact analysis |  |

## 8.3 Integration requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-T-009 | Web services (SOAP/REST) for system integration | • Web service specifications; • WSDL/OpenAPI documentation; • Security implementation; • Error handling design; • Integration patterns used |  |
| HES-T-010 | Message-based integration (JMS, AMQP, MQTT) | • Messaging architecture design; • Protocol selection rationale; • Message format specifications; • QoS configurations; • Topic/queue structure |  |
| HES-T-011 | File-based integration with configurable formats | • File format specifications; • Transfer mechanism design; • Scheduling capabilities; • Error handling procedures; • File size limitations |  |
| HES-T-012 | Real-time streaming capabilities (Kafka, RabbitMQ) | • Streaming architecture design; • Topic/exchange configuration; • Partitioning strategy; • Consumer group design; • Performance projections |  |

## 8.4 Performance specifications

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-T-013 | Concurrent user support: minimum 100 users | • User session architecture; • Resource allocation per user; • Session management design; • Performance projections; • Reference deployment data |  |
| HES-T-014 | Transaction throughput: 10,000 TPS for meter readings | • Performance architecture design; • Throughput calculations; • Bottleneck analysis; • Scaling approach; • Benchmark test results |  |
| HES-T-015 | Data latency: < 5 seconds from meter to database | • Data flow architecture; • Latency breakdown analysis; • Optimization strategies; • Network considerations; • Processing pipeline design |  |
| HES-T-016 | Command execution: < 30 seconds end-to-end | • Command flow documentation; • Timeout configurations; • Retry mechanisms; • Priority handling design; • Performance optimization |  |

## 8.5 Security specifications

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| HES-T-017 | Minimum TLS 1.3 (or latest version upon implementation stage) for all external communications | • TLS implementation documentation; • Certificate management process; • Cipher suite configuration; • Protocol downgrade prevention; • Performance impact analysis |  |
| HES-T-018 | Minimum AES-256 encryption for data at rest | • Encryption architecture design; • Key management procedures; • Encryption scope definition; • Performance impact data; • Compliance documentation |  |
| HES-T-019 | OAuth 2.0/SAML for authentication | • Authentication flow diagrams; • Token management design; • IdP integration approach; • Session management; • Security considerations |  |
| HES-T-020 | API rate limiting and DDoS protection | • Rate limiting architecture; • DDoS mitigation strategy; • Threshold configurations; • Alert mechanisms; • Recovery procedures |  |

# 9. USE CASES AND BUSINESS PROCESSES

## 9.1 Meter data collection use cases

UC-001: Scheduled meter reading

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Use case design | • Workflow diagrams; • Scheduling algorithm; • Data flow documentation; • Error handling procedures |  |
| Interval configuration | • Configuration interface; • Supported intervals list |  |
| Data validation | • Validation rules design; • Data quality checks |  |

UC-002: On-demand meter reading

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| UI/API design | • UI mockups; • API specifications; • User workflows |  |
| Priority handling | • Priority algorithm; • Queue management design |  |
| Retry mechanism | • Retry logic documentation; • Configuration options |  |

UC-003: Meter event processing

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Event detection capability for power outages, tamper attempts, voltage anomalies, meter cover removal | • Event types catalog with descriptions; • Detection algorithm documentation; • Event priority classification; • Hardware/firmware requirements; • Reference implementation examples |  |
| Real-time event transmission from meter to HES with guaranteed delivery | • Communication protocol for events; • Delivery guarantee mechanisms; • Retry logic documentation; • Buffer management design; • Network optimization approach |  |
| Event processing and categorization with configurable rules engine | • Event processing architecture; • Categorization rule examples; • Rule engine capabilities; • Performance specifications; • Customization procedures |  |
| Automated action triggering based on event types and severity | • Action framework documentation; • Trigger condition examples; • Workflow engine design; • Integration mechanisms; • Escalation procedures |  |
| Event logging with complete audit trail and notification distribution | • Logging architecture design; • Audit trail specifications; • Notification channels supported; • Distribution rules engine; • Retention policies |  |
| Event correlation for outage management and root cause analysis | • Correlation algorithm design; • Topology awareness approach; • Pattern recognition methods; • Integration with GIS/ADMS; • Visualization capabilities |  |

## 9.2 Remote control use cases

UC-004: Remote disconnect/reconnect

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Security design | • Authentication flow; • Authorization matrix; • Audit trail design; • Encryption methods |  |
| Command flow | • Command sequence diagram; • State management; • Rollback procedures |  |
| Multi-factor authentication | • MFA implementation; • Integration options |  |
| Confirmation process | • Confirmation protocol; • Timeout handling |  |

UC-005: Load limitation

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Load control design | • Control algorithm; • Threshold management; • Override capabilities |  |
| DR integration | • DR program support; • Event handling; • Customer opt-out |  |
| Monitoring | • Real-time monitoring design; • Alert mechanisms |  |

## 9.3 Configuration management use cases

UC-006: Firmware update

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Update process | • FOTA architecture; • Version management; • Rollback design |  |
| Batch management | • Batch sizing logic; • Network optimization; • Progress tracking |  |
| Validation | • Pre/post validation; • Integrity checks; • Compatibility matrix |  |

UC-007: Time syncronization

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Periodic time drift monitoring with configurable check intervals | • Time monitoring architecture; • Drift detection algorithms; • Configurable parameters; • Threshold specifications; • Alert mechanisms |  |
| Automated synchronization command generation and distribution | • Command generation logic; • Distribution mechanisms; • Priority handling design; • Batch processing capability; • Network optimization |  |
| Device clock update with minimal service disruption | • Clock update procedures; • Service continuity design; • Data integrity measures; • Rollback mechanisms; • Impact mitigation strategies |  |
| Synchronization logging and compliance reporting | • Logging framework design; • Compliance report templates; • Audit trail specifications; • Success/failure tracking; • Historical analysis tools |  |
| Time accuracy maintenance < 1 second across all devices | • Accuracy assurance methods; • NTP server architecture; • Network latency compensation; • GPS integration (if any); • Accuracy monitoring design |  |
| Daylight Saving Time (DST) transition handling | • DST handling procedures; • Data continuity approach; • Billing impact mitigation; • Communication protocols; • Testing procedures |  |

## 9.4 Security management use cases

UC-008: Key rotation

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Key management | • Key lifecycle design; • HSM integration (optional); • Key distribution protocol |  |
| Rotation schedule | • Policy documentation; • Automation design; • Exception handling |  |
| Audit trail | • Audit log design; • Retention policy; • Compliance mapping |  |

## 9.5 Analytics and reporting use cases

UC-009: Energy balance calculation

| Aspect | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- |
| Calculation method | • Algorithm documentation; • Accuracy projections; • Loss categorization |  |
| Aggregation logic | • Data model design; • Hierarchy handling; • Time synchronization |  |
| Report generation | • Report templates; • Scheduling options; • Distribution methods |  |

# 10. MDMS FUNCTIONAL REQUIREMENTS

## 10.1 Data collection and storage

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-FR-001 | Automatic downloading with scheduling | • Scheduler architecture • Configuration interface • Database design |  |
| MDMS-FR-002 | Multiple collection frequencies | • Supported frequencies list • Configuration documentation |  |
| MDMS-FR-003 | Multiple HES integration | • Integration architecture • Protocol support • Past implementations |  |
| MDMS-FR-004 | 18 months live + 6 years archive | • Storage architecture • Archival strategy • Sizing calculations |  |
| MDMS-FR-005 | Interval and scalar data | • Data model documentation • Type definitions |  |
| MDMS-FR-006 | Automatic timestamping | • Timestamp methodology • Time zone handling |  |
| MDMS-FR-007 | Standardized units | • Unit conversion design • Standards compliance |  |
| MDMS-FR-008 | Duplicate handling | • Deduplication algorithm • Performance impact |  |

## 10.2 Data validation, estimation and editing (VEE)

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-FR-009 | Configurable validation rules | • Rule engine design • Rule templates • Configuration UI |  |
| MDMS-FR-010 | Anomaly flagging | • Detection algorithms • Reason code catalog |  |
| MDMS-FR-011 | Manual editing with audit | • Edit workflow • Audit trail design • Security controls |  |
| MDMS-FR-012 | Estimation algorithms | • Algorithm documentation • Accuracy projections • Historical methods |  |
| MDMS-FR-013 | Status code maintenance | • Status model • Transition rules |  |
| MDMS-FR-014 | Automatic updates | • Update logic • Trigger mechanisms |  |
| MDMS-FR-015 | Data integrity checks | • Checksum methods • Validation points |  |
| MDMS-FR-016 | Check meter support | • Check meter model • Variance calculation |  |

## 10.3 Data processing and transformation

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-FR-017 | Meter provisioning | • Provisioning workflow • Automation design • Integration points |  |
| MDMS-FR-018 | DST correlation | • DST handling logic • Historical approach |  |
| MDMS-FR-019 | Unbilled energy calc | • Calculation methodology • Accounting integration |  |
| MDMS-FR-020 | Anomaly detection | • Configurable detection algorithms • ML models (if used) • Threshold management |  |
| MDMS-FR-021 | Fraud detection | • Detection patterns • Alert mechanisms • Case studies |  |
| MDMS-FR-022 | Aggregation/trends | • Aggregation engine • Statistical methods |  |
| MDMS-FR-023 | Energy communities | • Community model • Settlement algorithms • P2P trading logic |  |
| MDMS-FR-024 | TOU processing | • TOU engine design • Rate structures • Calendar handling |  |

## 10.4 Meter and asset management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-FR-025 | Complete device lifecycle management from registration to decommissioning | • Lifecycle workflow documentation • State transition diagrams • Business rules for each stage • Integration with procurement/disposal • Audit trail mechanisms |  |
| MDMS-FR-026 | Maintain meter location and consumer relationship information | • Data model for location/consumer • Relationship management design • Historical tracking approach • Data validation rules • Integration with CMS/GIS |  |
| MDMS-FR-027 | Track meter status and communication equipment from installation date | • Status tracking architecture • Communication equipment model • Real-time update mechanisms • Status change triggers • Reporting capabilities |  |
| MDMS-FR-028 | Complete in-service history including location references with dates | • Historical data model design • Location change tracking • Date/time stamp approach • Data retention policies • Query optimization |  |
| MDMS-FR-029 | Support for meter damage and deterioration reporting | • Damage categorization schema • Reporting interface design • Workflow integration • Photo attachment capability • Mobile app support |  |
| MDMS-FR-030 | Device inventory management (in-use and in-stock) | • Inventory management design • Warehouse integration approach • Stock level monitoring • Procurement triggers • Reconciliation procedures |  |
| MDMS-FR-031 | Relationship tracking between communication modules and meters | • Module-meter relationship model • Association/disassociation logic • Version compatibility matrix • Historical tracking design • Bulk update capabilities |  |
| MDMS-FR-032 | Historical tracking of device-transformer relationships | • Transformer relationship model • Network topology integration • Historical change tracking • Load calculation impact • Reporting capabilities |  |

## 10.5 Integration and Interoperability

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-FR-033 | Common Information Model (CIM) support per IEC 61968-9 | • CIM compliance documentation • Data model mapping • Message format examples • Validation tools used • Certification evidence |  |
| MDMS-FR-034 | Real-time data synchronization with Billing systems | • Integration architecture design • Synchronization mechanisms • Data mapping documentation • Error handling procedures • Performance specifications |  |
| MDMS-FR-035 | Integration with Customer Management System (CMS) | • CMS integration architecture • API specifications • Data synchronization approach • Master data management • Conflict resolution design |  |
| MDMS-FR-036 | Integration with ADMS technological platforms | • ADMS interface specifications • Real-time data exchange design • Event correlation approach • Network model synchronization • Performance requirements |  |
| MDMS-FR-037 | Market system integration for daily meter read publication | • Market interface specifications • Data format compliance • Publication scheduling design • Validation procedures • Retry mechanisms |  |
| MDMS-FR-038 | Asset management platform interoperability | • Asset system integration design • Data synchronization approach • Work order integration • Asset lifecycle coordination • Master data alignment |  |
| MDMS-FR-039 | GIS integration for location and network topology | • GIS interface specifications • Coordinate system support • Network model mapping • Visualization capabilities • Update mechanisms |  |
| MDMS-FR-040 | Integration with OMS for outage correlation | • OMS integration architecture • Event correlation logic • Real-time data exchange • Outage prediction models • Restoration tracking |  |

## 10.6 Reporting and analytics

| #### Req ID | #### Requirement description | #### Offer evidence required | #### Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| #### MDMS-FR-041 | #### Energy consumption reports by various aggregation levels | • Report template samples • Aggregation level options (hourly, daily, monthly, yearly) • Grouping capabilities (by area, customer type, voltage level) • Performance specifications • Export format options |  |
| #### MDMS-FR-042 | #### Peak demand analysis and reporting | • Peak detection algorithms • Demand calculation methods • Time period configurations • Coincidence factor analysis • Visualization examples |  |
| #### MDMS-FR-043 | #### Billing summary generation with configurable formats | • Billing report templates • Format customization options • Multi-language support • Calculation rule documentation • Integration with billing systems |  |
| #### MDMS-FR-044 | #### Regulatory compliance reporting capabilities | • Regulatory report inventory • Moldova-specific templates • Automated submission capabilities • Validation rules • Archive procedures |  |
| #### MDMS-FR-045 | #### Reconciliation reports for non-communicating meters | • Non-communication detection logic • Reconciliation procedures • Exception handling design • Manual reading integration • Trend analysis capabilities |  |
| #### MDMS-FR-046 | #### Technical and non-technical loss calculation reports | • Loss calculation methodology • Network model integration • Baseline establishment procedures • Anomaly detection algorithms • Visualization capabilities |  |
| #### MDMS-FR-047 | #### Power quality event reporting and analysis | • PQ event categorization • EN 50160 compliance mapping • Statistical analysis methods • Trend identification • Report template examples |  |
| #### MDMS-FR-048 | #### Configurable ad-hoc reporting capabilities | • Report builder interface design • Available data fields catalog • Query optimization approach • User permission model • Performance limitations |  |

## 10.7 Event management and alarm handling

| #### Req ID | #### Requirement description | #### Offer evidence required | #### Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| #### MDMS-FR-049 | #### Identification and processing of power outage events | • Outage detection algorithms • Last gasp processing design • Topology awareness approach • Customer impact calculation • Integration with OMS |  |
| #### MDMS-FR-050 | #### Tamper detection and alert generation | • Tamper event types catalog • Detection rule configurations • Alert priority matrix • Notification channel options • False positive handling |  |
| #### MDMS-FR-051 | #### Abnormal consumption pattern detection | • Pattern detection algorithms • Baseline calculation methods • Threshold configuration options • Machine learning capabilities • Investigation workflow |  |
| #### MDMS-FR-052 | #### Configurable event escalation and notification rules | • Escalation rule engine design • Notification channel integration • Time-based escalation logic • Role-based routing • Override mechanisms |  |
| #### MDMS-FR-053 | #### Support for voltage sags, spikes, and power quality events | • PQ event type definitions • Threshold configurations • Duration tracking capabilities • Severity classification • Impact assessment methods |  |
| #### MDMS-FR-054 | #### Event correlation across multiple meters | • Correlation engine architecture • Spatial correlation algorithms • Temporal correlation methods • Root cause analysis approach • Visualization capabilities |  |
| #### MDMS-FR-055 | #### Complete event logging with user tracking | • Event logging architecture • User action tracking design • Audit trail specifications • Log retention policies • Search and filter capabilities |  |

## 10.8 Customer interface and services

| #### Req ID | #### Requirement description | #### Offer evidence required | #### Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| #### MDMS-FR-056 | #### Customer web portal for consumption viewing | • Portal architecture documentation • UI/UX design mockups • Responsive design approach • Browser compatibility matrix • Performance specifications |  |
| #### MDMS-FR-057 | #### Mobile application support for customer access | • Mobile app architecture • Platform support (iOS/Android) • Feature parity with web portal • Offline capabilities • Security implementation |  |
| #### MDMS-FR-058 | #### Real-time consumption curve visualization | • Visualization technology stack • Data refresh mechanisms • Chart types and options • Performance optimization • Data granularity options |  |
| #### MDMS-FR-059 | #### Historical consumption comparison features | • Comparison logic documentation • Time period selection options • Visualization methods • Statistical calculations • Export capabilities |  |
| #### MDMS-FR-060 | #### Energy calculation transparency for customers | • Calculation display methodology • Tariff breakdown presentation • Multi-language support • Help/explanation features • Regulatory compliance |  |
| #### MDMS-FR-061 | #### Configurable alerts for consumption thresholds | • Alert configuration interface • Threshold types supported • Notification channels • Alert history tracking • Customization options |  |
| #### MDMS-FR-062 | #### Self-service features for basic account management | • Self-service functionality list • Security considerations • Integration with CRM/billing • Workflow automation • User experience design |  |

## 10.9 Security and access control

| #### Req ID | #### Requirement description | #### Offer evidence required | #### Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| #### MDMS-FR-063 | #### Management of security keys and certificates | • Key management architecture • Certificate lifecycle procedures • Storage security measures • Rotation policies • Recovery procedures |  |
| #### MDMS-FR-064 | #### Role-based access control with granular permissions | • RBAC model documentation • Permission matrix • Role hierarchy design • Delegation capabilities • Integration with AD/LDAP |  |
| #### MDMS-FR-065 | #### Complete audit trail for all system activities | • Audit logging architecture • Events captured list • Storage and retention design • Search capabilities • Tamper protection measures |  |
| #### MDMS-FR-066 | #### Multi-factor authentication support | • MFA implementation options • Supported factors (SMS, TOTP, etc.) • Enrollment procedures • Bypass mechanisms • Integration capabilities |  |
| #### MDMS-FR-067 | #### Data encryption at rest and in transit | • Encryption architecture • Algorithm specifications • Key management integration • Performance impact analysis • Compliance documentation |  |
| #### MDMS-FR-068 | #### Session management and timeout controls | • Session architecture design • Timeout configuration options • Concurrent session handling • Session persistence approach • Security considerations |  |
| #### MDMS-FR-069 | #### GDPR compliance for personal data handling | • Data privacy documentation • Personal data inventory • Consent management design • Data retention policies • Right-to-erasure procedures |  |

## 10.10 Scalability and performance

| #### Req ID | #### Requirement description | #### Offer evidence required | #### Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| #### MDMS-FR-070 | #### Support for minimum 100 K meters | • Scalability architecture • Resource calculations • Database sizing model • Reference deployments • Growth projections |  |
| #### MDMS-FR-071 | #### Process minimum10 million meter readings per day | • Processing architecture • Throughput calculations • Parallel processing design • Queue management • Performance benchmarks |  |
| #### MDMS-FR-072 | #### Sub-second query response for individual meter data | • Query optimization strategy • Indexing approach • Caching mechanisms • Database tuning • Performance test results |  |
| #### MDMS-FR-073 | #### Batch processing capabilities for large datasets | • Batch architecture design • Job scheduling capabilities • Parallel processing options • Error handling mechanisms • Performance specifications |  |
| #### MDMS-FR-074 | #### Horizontal scaling support for future growth | • Scaling architecture documentation • Node addition procedures • Load distribution design • Data partitioning strategy • Zero-downtime approach |  |
| #### MDMS-FR-075 | #### Database partitioning for performance optimization | • Partitioning strategy documentation • Partition key selection • Maintenance procedures • Query optimization approach • Archive strategy |  |

# 11. METERING POINT PROFILE

## 11.1 Core metering point data

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MPP-001 | Unique Metering Point ID with format per national standards | • National ID format specification • Validation algorithm documentation • Character set support • Check digit calculation • Error handling procedures |  |
| MPP-002 | Integration with National Registry for ID validation | • Integration architecture design • API specifications • Authentication mechanisms • Data synchronization approach • Offline validation fallback |  |
| MPP-003 | Complete address information from CMS metadata | • Address data model • CMS integration design • Field mapping documentation • Validation rules • Multi-language support |  |
| MPP-004 | Connection voltage level classification (HV/MV/LV) | • Voltage classification schema • Validation rules per level • Default assignment logic • Change tracking design • Reporting capabilities |  |
| MPP-005 | Contracted power information from CMS | • Power data model • CMS synchronization design • Unit conversion handling • Historical tracking • Validation thresholds |  |
| MPP-006 | EIC Code support where applicable | • EIC code format specification • Validation algorithm • Optional field handling • Integration requirements • Display formatting |  |

## 11.2 Customer classification

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MPP-007 | Customer category: Household, Public Service, Non-household | • Category definitions document • Classification rules • Migration from legacy codes • Reporting structures • Change procedures |  |
| MPP-008 | RES classification: Prosumer, Eligible Producer, Energy Community | • RES classification criteria • Regulatory compliance mapping • Status change workflows • Integration with market systems • Certification tracking |  |
| MPP-009 | Installed power capacity for producers | • Capacity data model • Validation ranges • Unit specifications • Change authorization workflow • Audit trail design |  |
| MPP-010 | Evidence type: Commercial or Technical | • Evidence type definitions • Assignment rules • Impact on processes • Reporting categorization • Change restrictions |  |

## 11.3 Meter information

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MPP-011 | Meter model information from AMS | • Meter model catalog • AMS integration interface • Model validation rules • Capability mapping • Update synchronization |  |
| MPP-012 | Meter serial number tracking | • Serial number format specs • Uniqueness enforcement • Manufacturer mapping • Duplicate handling • Search capabilities |  |
| MPP-013 | Metrology term validity dates | • Validity period rules • Alert generation logic • Regulatory compliance • Extension procedures • Reporting capabilities |  |
| MPP-014 | Meter firmware version from HES | • Version tracking design • HES synchronization • Version comparison logic • Update history • Compatibility matrix |  |
| MPP-015 | Meter configuration parameters | • Parameter catalog • Configuration templates • Validation rules • Change tracking • Bulk update capabilities |  |

## 11.4 Transformer information

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MPP-016 | Current transformer (CT) model and serial number | • CT catalog structure • Serial number format • Manufacturer database • Association rules • Replacement tracking |  |
| MPP-017 | CT metrology term tracking | • Metrology period rules • Certification tracking • Alert mechanisms • Compliance reporting • Extension procedures |  |
| MPP-018 | Voltage transformer (VT) model and serial number | • VT catalog structure • Serial format specs • Quality tracking • Installation records • Maintenance history |  |
| MPP-019 | VT metrology term tracking | • VT metrology rules • Synchronization with CT • Combined reporting • Alert coordination • Regulatory compliance |  |
| MPP-020 | Transformer ratio configurations | • Ratio calculation rules • Standard ratio library • Custom ratio support • Validation constraints • Impact on calculations |  |

## 11.5 Communication information

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MPP-021 | Communication technology type (PLC/IP/Serial/Cellular) | • Technology catalog • Selection criteria • Performance characteristics • Migration paths • Reporting categorization |  |
| MPP-022 | Communication device model and serial number | • Device catalog design • Serial number formats • Manufacturer mapping • Compatibility matrix • Lifecycle tracking |  |
| MPP-023 | IP addresses for WAN interfaces | • IP address management • IPv4/IPv6 support • DHCP integration • Static assignment • Conflict detection |  |
| MPP-024 | Communication device firmware version | • Version tracking schema • Update coordination • Compatibility checking • Rollback tracking • Alert mechanisms |  |
| MPP-025 | Communication parameters and settings | • Parameter catalog • Technology-specific settings • Validation rules • Performance optimization • Bulk configuration |  |

# 12. MDMS TECHNICAL SPECIFICATIONS

## 12.1 Architecture requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-T-001 | Service-oriented architecture with clear service boundaries | • Service catalog documentation • Service interaction diagrams • API contracts between services • Service governance model • Reference architecture examples |  |
| MDMS-T-002 | Microservices support for modular deployment | • Microservices architecture design • Service decomposition strategy • Container orchestration approach • Service mesh implementation • DevOps pipeline documentation |  |
| MDMS-T-003 | Multi-tier architecture (presentation, business, data layers) | • Layer separation documentation • Component deployment diagrams • Inter-layer communication protocols • Security boundaries definition • Scalability per layer |  |
| MDMS-T-004 | Stateless service design for scalability | • Stateless design documentation • Session management approach • State externalization strategy • Load balancing compatibility • Horizontal scaling design |  |
| MDMS-T-005 | Event-driven architecture for real-time processing | • Event architecture design • Event catalog and schemas • Publishing/subscription model • Event store implementation • Processing guarantees |  |

## 12.2 Database requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-T-006 | Enterprise RDBMS compatibility (i.e. Oracle, PostgreSQL, SQL Server) | • Database selection justification • Performance benchmarks • HA/DR capabilities • Migration tools availability |  |
| MDMS-T-007 | Time-series database integration for meter data | • Time-series DB selection • Data retention strategies • Compression algorithms • Query optimization techniques • Integration architecture |  |
| MDMS-T-008 | NoSQL support for unstructured data | • NoSQL database choice • Use case documentation • Data model design • Consistency model • Integration approach |  |
| MDMS-T-009 | Database clustering for high availability | • Clustering architecture • Node configuration specs • Replication strategy • Failover mechanisms • Split-brain prevention |  |
| MDMS-T-010 | Automated backup and recovery procedures | • Backup strategy documentation • Recovery procedures • Backup scheduling design • Retention policies • Test restoration plans |  |

## 12.3 Integration specifications

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-T-011 | RESTful APIs with OpenAPI 3.0 documentation | • Complete OpenAPI specifications • API design guidelines • Versioning strategy • Security implementation • Code generation tools |  |
| MDMS-T-012 | SOAP web services for legacy integration | • WSDL specifications • Legacy system mapping • Security implementation • Error handling design • Performance considerations |  |
| MDMS-T-013 | Message queuing (JMS, AMQP, Kafka) | • Message queue architecture • Topic/queue design • Message schemas • Delivery guarantees • Performance specifications |  |
| MDMS-T-014 | Batch file processing (CSV, XML, JSON) | • File format specifications • Processing workflows • Error handling procedures • Performance optimization • Scheduling capabilities |  |
| MDMS-T-015 | GraphQL support for flexible queries | • GraphQL schema design • Query optimization approach • Security considerations • Performance implications • Client library support |  |

## 12.4 Performance specifications

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-T-016 | Process minimum 500K meter readings per hour | • Performance architecture design • Resource calculations • Bottleneck analysis • Optimization strategies • Reference benchmarks |  |
| MDMS-T-017 | VEE processing within 5 minutes of receipt | • VEE engine architecture • Rule processing optimization • Parallel processing design • Queue management • Performance metrics |  |
| MDMS-T-018 | Report generation < 30 seconds for standard reports | • Report engine architecture • Pre-aggregation strategy • Caching mechanisms • Standard report inventory • Performance optimization |  |
| MDMS-T-019 | API response time < 500ms for 95% of requests | • API performance design • Caching strategy • Database optimization • Connection pooling • Load distribution |  |
| MDMS-T-020 | Support 200 concurrent user sessions | • Session management design • Resource allocation model • Load balancing strategy • Performance projections • Scaling approach |  |

## 12.5 Security specifications

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MDMS-T-021 | OAuth 2.0 / OpenID Connect for authentication | • OAuth implementation design • Token management strategy • Identity provider integration • Scope definitions • Security considerations |  |
| MDMS-T-022 | TLS 1.3 for all communications | • TLS implementation plan • Certificate management • Cipher suite selection • Performance impact analysis • Compatibility matrix |  |
| MDMS-T-023 | AES-256 encryption for sensitive data | • Encryption architecture • Key management design • Data classification • Performance considerations • Compliance mapping |  |
| MDMS-T-024 | API rate limiting and throttling | • Rate limiting design • Throttling algorithms • Per-client/global limits • Bypass mechanisms • Monitoring approach |  |
| MDMS-T-025 | Compatibility with common WAF solutions | Compatibility documentation: • WAF compatibility matrix for common WAF vendors (e.g., F5, Cloudflare, AWS WAF, Azure WAF, Fortinet) • Security integration architecture • HTTP/HTTPS traffic patterns documentation • Session management compatibility • SSL/TLS termination support Integration guidelines: • WAF rule configuration recommendations • Whitelisting requirements for legitimate traffic • API endpoint security specifications • False positive mitigation strategies • Performance optimization guidelines |  |

# 13. MDMS USE CASES AND BUSINESS PROCESSES

## 13.1 Data management use cases

UC-011: Meter data collection and storage

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-011-01 | HES data push interface with multiple protocol support | • Interface specifications • Protocol documentation • Data format schemas • Error handling procedures • Performance benchmarks |  |
| UC-011-02 | Data format and completeness validation upon receipt | • Validation rule catalog • Format specifications • Completeness criteria • Rejection handling • Performance impact |  |
| UC-011-03 | Automated VEE processing integration | • VEE workflow design • Processing triggers • Queue management • Priority handling • Monitoring capabilities |  |
| UC-011-04 | Database storage with indexing and partitioning | • Storage architecture • Indexing strategy • Partitioning scheme • Performance optimization • Growth projections |  |
| UC-011-05 | Exception notification system | • Notification framework • Exception categories • Routing rules • Delivery channels • Escalation procedures |  |

UC-012: Data validation and estimation

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-012-01 | Configurable validation rules engine | • Rule engine architecture • Rule types catalog • Configuration interface • Performance specifications • Rule versioning |  |
| UC-012-02 | Anomaly detection and flagging system | • Detection algorithms • Flag categories • Threshold management • Pattern recognition • False positive handling |  |
| UC-012-03 | Missing interval estimation algorithms | • Estimation methods • Algorithm selection logic • Accuracy specifications • Historical data usage • Seasonal adjustments |  |
| UC-012-04 | Data status tracking and marking | • Status model design • Transition rules • Audit trail approach • Query capabilities • Reporting integration |  |
| UC-012-05 | Validation report generation | • Report templates • Content specifications • Distribution options • Scheduling capabilities • Archive procedures |  |

UC-013: Billing determinant preparation

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-013-01 | Billing system integration interface | • Interface specifications • Request/response formats • Authentication methods • Error handling • Performance requirements |  |
| UC-013-02 | Consumption data aggregation engine | • Aggregation algorithms • Time period handling • Missing data treatment • Performance optimization • Accuracy specifications |  |
| UC-013-03 | TOU rate application and calculations | • Rate structure support • Calculation engine • Holiday handling • Rate change management • Validation procedures |  |
| UC-013-04 | Billing determinant generation and formatting | • Determinant specifications • Format requirements • Validation rules • Error handling • Performance targets |  |
| UC-013-05 | Billing window completion guarantee | • Processing schedule • Priority mechanisms • Resource allocation • Monitoring tools • Contingency procedures |  |

## 13.2 Customer service use cases

UC-014: Customer portal access

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-014-01 | Web portal authentication system. | • Authentication architecture • Login flow design • Password policies • Session management • Security measures |  |
| UC-014-02 | Multi-factor authentication support | • MFA implementation • Factor options (SMS, app • Enrollment process • Fallback mechanisms • Security analysis |  |
| UC-014-03 | Consumption dashboard display | • Dashboard design • Widget specifications • Data refresh rates • Customization options • Performance targets |  |
| UC-014-04 | Historical data viewing capabilities | • Data retention periods • Query interface design • Comparison features • Export options • Performance optimization |  |
| UC-014-05 | Report download functionality | • Report types available • Format options • Generation process • Security controls • Performance limits |  |

UC-015: Consumption alert management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-015-01 | Real-time consumption monitoring engine | • Monitoring architecture • Data processing pipeline • Latency specifications • Scalability design • Resource requirements |  |
| UC-015-02 | Configurable threshold management | • Threshold types • Configuration interface • Validation rules • Change management • Multi-threshold support |  |
| UC-015-03 | Alert generation and queuing system | • Alert engine design • Queue management • Priority handling • Deduplication logic • Performance specs |  |
| UC-015-04 | Multi-channel notification delivery | • Channel options (email/SMS • Delivery mechanisms • Template management • Retry logic • Delivery tracking |  |
| UC-015-05 | Customer acknowledgment tracking | • Acknowledgment methods • Status tracking • Reminder logic • Reporting capabilities • Integration options |  |

## 13.3 Analytics use cases

UC-016: Energy balance calculation

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-016-01 | Supply point data aggregation | • Aggregation methodology • Hierarchy handling • Time synchronization • Missing data treatment • Accuracy requirements |  |
| UC-016-02 | Customer consumption summation | • Summation algorithms • Customer grouping • Meter multipliers • Exception handling • Performance optimization |  |
| UC-016-03 | Technical loss calculation engine | • Loss calculation methods • Network model integration • Loss factors • Seasonal variations • Accuracy specifications |  |
| UC-016-04 | Non-technical loss identification | • Detection algorithms • Pattern analysis • Threshold settings • Investigation tools • Reporting features |  |
| UC-016-05 | Balance report generation with 0.5% tolerance | • Report specifications • Calculation validation • Tolerance handling • Distribution lists • Archive procedures |  |

UC-017: Load profile analysis

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-017-01 | Analysis parameter selection interface | • Parameter options • UI design mockups • Validation rules • Default settings • Help documentation |  |
| UC-017-02 | Interval data retrieval system | • Query optimization • Data access methods • Performance targets • Memory management • Error handling |  |
| UC-017-03 | Statistical analysis engine | • Analysis algorithms • Statistical methods • Accuracy specifications • Performance requirements • Visualization options |  |
| UC-017-04 | Load curve generation | • Curve types supported • Rendering engine • Customization options • Export capabilities • Performance specs |  |
| UC-017-05 | Results export in multiple formats | • Format options (PDF, Excel) • Data structure specs • Export performance • File size limits • Security controls |  |
| UC-017-06 | Load profile parameters filtration | • Data structure specs • Export performance • File size limits • Security controls |  |

## 13.4 Integration use cases

UC-018: Market data publication

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-018-01 | Market data preparation engine | • Data selection logic • Aggregation rules • Quality checks • Performance design • Error handling |  |
| UC-018-02 | Market format compliance | • Format specifications • Validation rules • Version handling • Change management • Compliance matrix |  |
| UC-018-03 | Data completeness validation | • Completeness criteria • Validation algorithms • Exception handling • Reporting mechanisms • Recovery procedures |  |
| UC-018-04 | Market platform publication interface | • Interface specifications • Security protocols • Transfer mechanisms • Retry logic • Monitoring tools |  |
| UC-018-05 | Delivery confirmation and deadline compliance | • Confirmation mechanisms • Deadline management • Alert systems • Contingency procedures • Audit trail |  |

UC-019: Asset management synchronization

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| UC-019-01 | Asset update reception interface | • Interface design • Message formats • Authentication methods • Queue management • Error handling |  |
| UC-019-02 | Asset data validation engine | • Validation rules • Data quality checks • Reference data usage • Exception handling • Reporting features |  |
| UC-019-03 | Meter relationship updates | • Relationship model • Update procedures • Consistency checks • History tracking • Rollback capability |  |
| UC-019-04 | Configuration synchronization | • Sync mechanisms • Conflict resolution • Version control • Audit logging • Performance targets |  |
| UC-019-05 | Real-time and batch mode support | • Mode selection logic • Performance differences • Queue management • Priority handling • Monitoring capabilities |  |

# TERMS OF REFERENCE - PART III

# NON-FUNCTIONAL REQUIREMENTS FOR HES AND MDMS

# 14. SCALABILITY REQUIREMENTS

## 14.1 HES scalability requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-HES-S01 | 100K meters scaling to 1.5M | • Architecture documentation • Scaling methodology • Reference deployments >500k |  |
| NFR-HES-S02 | 10,000 concurrent connections | • Connection pooling design • Thread management • Load balancer specs |  |
| NFR-HES-S03 | 5,000 commands/second | • Performance benchmarks • Queue architecture • Processing design |  |
| NFR-HES-S04 | Horizontal scaling | • Scaling architecture • Node addition process • Load distribution |  |
| NFR-HES-S05 | Multi-protocol streams | • Protocol handlers • Resource isolation • Performance data |  |
| NFR-HES-S06 | Dynamic resource allocation | • Auto-scaling design • Burst handling • Resource policies |  |

## 14.2 MDMS scalability requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-MDMS-S01 | 100K meters, 15-min intervals | • Data architecture • Storage calculations • Processing pipeline |  |
| NFR-MDMS-S02 | Scale to 1.5M without architecture change | • Scalability design • Architecture flexibility • Growth accommodation |  |
| NFR-MDMS-S03 | 100M readings/day | • Throughput design • Database optimization • Benchmark data |  |
| NFR-MDMS-S04 | 5 HES integrations | • Integration framework • Isolation mechanisms • Performance impact |  |
| NFR-MDMS-S05 | Diverse data sources | • Adapter architecture • Data normalization • Format support |  |
| NFR-MDMS-S06 | Elastic scaling (optional) | • Cloud architecture • Auto-scaling design |  |

# 15. PERFORMANCE AND LATENCY REQUIREMENTS

## 15.1 HES performance requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-HES-P03 | Event processing <100ms | • Event architecture • Processing pipeline |  |
| NFR-HES-P04 | Firmware 1000/hour | • Update mechanism • Batch processing • Network optimization |  |
| NFR-HES-P05 | Configurable retry | • Retry logic design • Configuration options |  |
| NFR-HES-P06 | Priority queue <1s | • Queue architecture • Priority algorithm |  |

## 15.2 MDMS performance requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-MDMS-P01 | VEE <5 minutes | • VEE engine design • Parallel processing |  |
| NFR-MDMS-P02 | Query <1s (90%) | • Database optimization • Indexing strategy |  |
| NFR-MDMS-P03 | Billing <30min/100k | • Billing engine design • Batch processing |  |
| NFR-MDMS-P04 | Dashboard <5s refresh | • Dashboard architecture • Caching strategy |  |
| NFR-MDMS-P05 | Reports <30s | • Report engine • Pre-aggregation |  |
| NFR-MDMS-P06 | API <500ms (95%) | • API optimization • Caching design |  |

# 16. AVAILABILITY AND RELIABILITY REQUIREMENTS

## 16.1 System availability requirements (for both HES and MDMS)

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-AR-03 | Active-active/passive clustering | • Cluster architecture • Data synchronization • Split-brain prevention |  |
| NFR-AR-04 | Failover <60 seconds | • Failover design • Detection mechanisms • Automation |  |
| NFR-AR-05 | Geographic redundancy 50km | • Site locations • Network architecture • Replication design |  |
| NFR-AR-06 | Load balancing | • LB architecture • Distribution algorithms • Health checks |  |

## 16.2 Disaster recovery requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-DR-01 | Recovery Time Objective (RTO) < 1 hour for complete system | • DR architecture documentation • RTO calculation methodology • Historical DR performance data • Automated recovery procedures |  |
| NFR-DR-02 | Recovery Point Objective (RPO) < 15 minutes for transactional data | • Data replication architecture • RPO achievement methodology • Replication technology specifications • Data loss prevention measures |  |
| NFR-DR-03 | Automated backup every 4 hours with verification | • Backup automation design • Verification process documentation • Backup storage architecture • Retention policy specifications |  |
| NFR-DR-05 | Hot standby site with real-time data replication | • Standby site architecture • Replication technology details • Network connectivity design • Synchronization monitoring approach |  |

# 17. INTEROPERABILITY AND INTEGRATION REQUIREMENTS

## 17.1 Standards compliance

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-INT-01 | CIM IEC 61968-9 | • CIM compliance docs • Data model mapping • Certification |  |
| NFR-INT-02 | IEC 62351 security | • Security implementation • Standard compliance • Certificates |  |
| NFR-INT-03 | DLMS/COSEM | • Protocol implementation • Compliance matrix • Test results |  |
| NFR-INT-04 | OpenAPI 3.0 | • API documentation • Specification files • Validation results |  |
| NFR-INT-05 | IEC 61850 (Optional) | • Implementation docs • Integration examples |  |

## 17.2 API and integration capabilities

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-API-01 | RESTful APIs supporting JSON and XML data formats | • API architecture documentation • REST design principles compliance • JSON/XML schema definitions • API versioning strategy |  |
| NFR-API-02 | GraphQL support for flexible data queries | • GraphQL implementation approach • Schema definition documentation • Query optimization strategy • Performance benchmarks |  |
| NFR-API-03 | SOAP web services for legacy system integration | • WSDL definitions • SOAP protocol compliance • Legacy system compatibility matrix • Security implementation (WS-Security) |  |
| NFR-API-04 | Message broker integration (Kafka, RabbitMQ, AMQP) | • Message broker architecture • Topic/queue design documentation • Message format specifications • Guaranteed delivery mechanisms |  |
| NFR-API-05 | Webhook support for event-driven notifications | • Webhook architecture design • Event catalog documentation • Retry mechanism specifications • Security implementation approach |  |
| NFR-API-06 | Batch file interfaces (CSV, XML, JSON) with scheduling | • File interface specifications • Scheduling framework documentation • File validation rules • Error handling procedures |  |

# 18. CYBERSECURITY REQUIREMENTS

## 18.1 Data protection requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-SEC-01 | AES-256 at rest | • Encryption architecture • Key management • Implementation details |  |
| NFR-SEC-02 | TLS 1.3 in transit | • Protocol configuration • Certificate management • Cipher suites |  |
| NFR-SEC-03 | FIPS 140-2 | • Module certification • Compliance documents • Vendor attestation |  |
| NFR-SEC-04 | HSM support (optional) | • HSM integration design • Key management architecture |  |
| NFR-SEC-05 | Data masking | • Masking rules • Environment separation • Data flow controls |  |
| NFR-SEC-06 | Command signing | • Signing architecture • Certificate management • Verification process |  |

## 18.2 Access control and authentication

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-AC-01 | Role-based access control (RBAC) with minimum 20 configurable roles | • RBAC design documentation • Role hierarchy structure • Permission matrix template • Role configuration procedures |  |
| NFR-AC-02 | Multi-factor authentication (MFA) for all privileged accounts | • MFA implementation approach • Supported authentication factors • Privileged account definitions • MFA bypass procedures |  |
| NFR-AC-03 | Integration with enterprise IAM (AD, LDAP, SAML) | • IAM integration architecture • Protocol support documentation • Attribute mapping specifications • SSO implementation approach |  |
| NFR-AC-04 | OAuth 2.0 / OpenID Connect for API authentication | • OAuth implementation design • Token management strategy • Scope definitions • OIDC compliance documentation |  |
| NFR-AC-05 | Session timeout after 15 minutes of inactivity | • Session management design • Timeout configuration approach • Session persistence strategy • Warning notification mechanism |  |
| NFR-AC-06 | Account lockout after 5 failed login attempts | • Lockout mechanism design • Counter reset procedures • Unlock workflow documentation • Notification system approach |  |

## 18.3 Threat management

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-TM-01 | Integration with SIEM solutions (Splunk, QRadar, ArcSight – tbc specific tool used by Beneficiary) | • SIEM integration architecture • Log format specifications • Event correlation rules • Data retention approach |  |
| NFR-TM-02 | Real-time intrusion detection for OT protocols (DNP3, IEC 61850) | • IDS architecture for OT • Protocol parsing capabilities • Anomaly detection algorithms • Alert threshold configurations |  |
| NFR-TM-03 | DDoS protection for public-facing interfaces | • DDoS mitigation architecture • Traffic filtering rules • Rate limiting configurations • Failover mechanisms |  |
| NFR-TM-06 | Security incident response plan with 4-hour response time | • Incident response plan template • Escalation matrix • Response team structure • Communication protocols |  |

# 19. DATA GOVERNANCE AND QUALITY

## 19.1 Data integrity

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-DQ-01 | Automated validation | • Validation framework • Rule engine design • Error handling |  |
| NFR-DQ-02 | Checksum verification | • Checksum algorithms • Implementation points • Performance data |  |
| NFR-DQ-03 | Daily reconciliation | • Reconciliation process • Discrepancy handling • Automation design |  |
| NFR-DQ-04 | Anomaly detection | • Detection algorithms • Threshold management • Alert mechanisms |  |
| NFR-DQ-05 | Data lineage | • Lineage architecture • Tracking mechanisms • Visualization tools |  |

## 19.2 Audit trail requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-AUD-01 | Comprehensive logging of all user and system actions | • Audit logging architecture • Event catalog documentation • Log format specifications • Coverage matrix for actions |  |
| NFR-AUD-02 | Immutable audit logs with tamper detection | • Log immutability design • Cryptographic signing approach • Tamper detection algorithms • Chain of custody procedures |  |
| NFR-AUD-03 | Log retention for minimum 5 years online, 10 years archived | • Retention policy documentation • Storage architecture design • Archival process workflow • Retrieval procedures |  |
| NFR-AUD-04 | Audit log search and reporting capabilities | • Search engine specifications • Query language documentation • Report template catalog • Performance benchmarks |  |
| NFR-AUD-05 | Real-time alerting for suspicious activities | • Alert rule engine design • Suspicious pattern definitions • Notification channel setup • Escalation procedures |  |

# 20. COMPLIANCE AND REGULATORY

## 20.1 Data protection compliance

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-GDPR-01 | Data minimization | • Data collection design • Privacy by design docs • Data flow diagrams |  |
| NFR-GDPR-02 | Right to access | • Export functionality • Process documentation • Timeline compliance |  |
| NFR-GDPR-03 | Right to erasure | • Deletion procedures • Data retention policies • Cascade deletion |  |
| NFR-GDPR-04 | Breach notification | • Incident procedures • Notification templates • Contact mechanisms |  |
| NFR-GDPR-05 | Privacy by design | • Privacy architecture • Impact assessments • Design documentation |  |
| NFR-GDPR-06 | DPA templates | • Template documents • Legal review • Compliance mapping |  |

## 20.2 Energy sector compliance

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-ES-01 | Compliance with Moldova's critical infrastructure protection laws | • Legal compliance matrix • Critical infrastructure controls • Protection measures documentation • Compliance gap analysis |  |
| NFR-ES-02 | EU NIS Directive compliance for network security | • NIS compliance checklist • Network security architecture • Incident response procedures • Risk assessment methodology |  |
| NFR-ES-03 | Data localization within Moldova or EU | • Data residency architecture • Geographic location certificates • Data flow documentation • Backup location specifications |  |
| NFR-ES-04 | Support for regulatory reporting requirements | • Regulatory report templates • Reporting automation design • Data collection mechanisms • Submission interface specifications |  |
| NFR-ES-05 | Compliance with national metering standards | • Metering standards mapping • Accuracy specifications • Calibration procedures • Certification documentation |  |

# 21. OPERATIONAL REQUIREMENTS

## 21.1 Maintenance and upgrade requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-MNT-01 | Zero-downtime deployment | • Deployment architecture • Blue-green design • Rollback procedures |  |
| NFR-MNT-02 | Rolling updates | • Update strategy • Component isolation • Orchestration tools |  |
| NFR-MNT-03 | 5-minute rollback | • Rollback procedures • Automation scripts • State management |  |
| NFR-MNT-04 | Version control | • VC system choice • Branching strategy • CI/CD integration |  |
| NFR-MNT-05 | 24-hour patching | • Patch procedures • Emergency process • Testing requirements |  |

## 21.2 Monitoring and diagnostics

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-MON-01 | Real-time monitoring dashboards for system health | • Dashboard architecture design • Health metrics catalog • Visualization specifications • Refresh rate capabilities |  |
| NFR-MON-02 | Automated alerting for performance degradation | • Alert rule configuration • Threshold setting methodology • Notification channel design • Escalation matrix |  |
| NFR-MON-03 | Predictive analytics for capacity planning | • Analytics algorithm documentation • Prediction model specifications • Historical data requirements • Forecasting accuracy metrics |  |
| NFR-MON-04 | Root cause analysis tools for incident investigation | • RCA tool capabilities • Investigation workflow design • Log correlation features • Forensic analysis procedures |  |
| NFR-MON-05 | Performance metrics collection and trending | • Metrics collection architecture • KPI definitions catalog • Data retention policies • Trending visualization tools |  |

# 22. USABILITY AND TRAINING REQUIREMENTS

## 22.1 User interface requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-UI-01 | Role-based dashboards | • Dashboard designs • Role definitions • Customization options |  |
| NFR-UI-02 | RO/EN mandatory, RU optional | • Localization architecture • Translation process• Language switching |  |
| NFR-UI-03 | WCAG 2.1 AA | • Accessibility design • Compliance checklist • Testing tools |  |
| NFR-UI-04 | Responsive design | • Responsive framework • Device support matrix • Design mockups |  |
| NFR-UI-05 | Context help | • Help system design • Content strategy • Tooltip framework |  |

## 22.2 Training requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-TRN-01 | Role-specific training modules for all user types | • Training curriculum outline • Module-to-role mapping • Learning objectives per module • Assessment methodology |  |
| NFR-TRN-02 | Hands-on training environment/sandbox | • Sandbox architecture design • Environment specifications • Data anonymization approach • Reset/refresh procedures |  |
| NFR-TRN-03 | Comprehensive documentation in local language - Romanian | • Documentation inventory • Translation methodology • Quality assurance process • Update procedures |  |
| NFR-TRN-04 | Train-the-trainer program with certification (if apply/available – bidder must specify this in the offer) | • Trainer curriculum design • Certification requirements • Assessment criteria • Program availability confirmation |  |
| NFR-TRN-05 | Online learning management system (LMS) access (if apply/available – bidder must specify this in the offer) | • LMS platform specifications • Content delivery methods • Progress tracking features • Availability confirmation |  |

# 23. ENVIRONMENTAL AND EFFICIENCY REQUIREMENTS

## 23.1 Resource efficiency

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| NFR-EFF-03 | Query <100ms avg | • Query optimization • Index strategy • Database design |  |
| NFR-EFF-04 | Bandwidth optimization | • Compression strategy • Protocol efficiency • Batch mechanisms |  |
| NFR-EFF-05 | PUE <1.5 (Optional) | • Data center specs • Efficiency measures |  |

# TERMS OF REFERENCE - PART IV

# SERVICES REQUIREMENTS FOR HES AND MDMS

# 24. CUSTOMIZATION AND CONFIGURATION SERVICES

## 24.1 HES customization services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| SVC-HES-C01 | Communication protocol customization for Moldova-specific meter models | • Protocol adaptation methodology • Meter model compatibility matrix • Configuration approach documentation • Previous customization examples |  |
| SVC-HES-C02 | Custom command sequences for local utility requirements | • Command sequence design approach • Automation framework specifications • Template creation methodology • Utility requirement analysis |  |
| SVC-HES-C03 | Meter firmware management customization | • Firmware repository architecture • Update procedure design • Version control approach • Rollback mechanisms |  |
| SVC-HES-C04 | Alert and event configuration based on local regulations | • Alert rule framework • Regulatory mapping documentation • Notification template designs • Event categorization approach |  |
| SVC-HES-C05 | Performance tuning for Moldova's communication infrastructure | • Performance analysis methodology • Infrastructure assessment approach • Optimization techniques • Benchmarking procedures |  |
| SVC-HES-C06 | Custom dashboards for operations center | • Dashboard design approach • Widget development framework • Layout customization capabilities • User requirement analysis |  |

## 24.2 MDMS customization services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| SVC-MDMS-C01 | VEE rules customization for Moldova market requirements | • VEE rule design methodology • Market requirement analysis • Validation logic documentation • Rule testing procedures |  |
| SVC-MDMS-C02 | Billing determinant calculations for local tariff structures | • Calculation engine architecture • Tariff structure analysis • Configuration methodology • Testing approach |  |
| SVC-MDMS-C03 | Report templates for regulatory compliance | • Report design framework • Regulatory requirement mapping • Template creation process • Scheduling capabilities |  |
| SVC-MDMS-C04 | Energy community settlement algorithms | • Settlement algorithm design • Distribution rule framework • Community model support • Calculation methodology |  |
| SVC-MDMS-C05 | Custom analytics for grid loss calculation | • Analytics model architecture • Loss calculation methodology • Reporting framework design • Accuracy validation approach |  |
| SVC-MDMS-C06 | Time-of-use processing for Moldova's rate schedules | • TOU engine design • Rate schedule mapping • Configuration framework • Processing logic documentation |  |

# 25. INTEGRATION SERVICES

## 25.1 Enterprise system integration requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| INT-01 | GIS (Smallworld Electric Office) - Meter location synchronization, Asset data exchange, Network topology updates, Real-time status sharing | • Smallworld integration experience • API compatibility documentation • Data mapping specifications • Real-time sync architecture |  |
| INT-02 | ERP (SAP) - Asset lifecycle management, Work order integration, Inventory synchronization, Financial data exchange | • SAP integration methodology • Asset lifecycle mappings • Work order interface design • Financial posting specifications |  |
| INT-03 | ADMS (Onesite Grid Platform) - Outage event correlation, Load data sharing, Network status updates, Incident management integration | • Onesite platform experience • Event correlation logic • Load data interface specs • Incident workflow design |  |
| INT-04 | CMS (TBD - 2026 implementation) - Customer data synchronization, Service point management, Account status updates, Contact information exchange | • Generic CMS integration framework • Data model flexibility • Synchronization approach • Adapter architecture |  |
| INT-05 | Billing (Multiple supplier platforms) - Consumption data delivery, Billing determinants, Rate application, Exception handling | • Multi-platform integration approach • Data delivery mechanisms • Billing determinant specs • Exception handling procedures |  |

## 25.2 HES-specific integration services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| INT-HES-01 | GIS integration for meter location validation via REST API, batch files | • REST API design documentation • Batch file specifications • Location validation logic • Mapping rule definitions |  |
| INT-HES-02 | ADMS integration for outage correlation via real-time messaging | • Messaging architecture design • Event correlation algorithms • Message format specifications • Performance benchmarks |  |
| INT-HES-03 | Asset management synchronization with SAP via web services, batch | • Web service specifications • Batch processing design • Synchronization procedures • Error handling approach |  |
| INT-HES-04 | Network topology updates from GIS via scheduled batch, API | • Update procedure design • Validation rule framework • Scheduling mechanisms • API specifications |  |
| INT-HES-05 | Meter event forwarding to ADMS via event streaming | • Event streaming architecture • Event type configurations • Routing rule definitions • Performance specifications |  |

## 25.3 MDMS-specific integration services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| INT-MDMS-01 | Billing system integration for all suppliers via REST API, file transfer | • Multi-supplier API design • File transfer specifications • Data format documentation • Error handling procedures |  |
| INT-MDMS-02 | CMS integration for customer data via real-time sync, batch | • Real-time sync architecture • Batch processing design • Data mapping specifications • Synchronization procedures |  |
| INT-MDMS-03 | SAP integration for financial posting via web services | • Financial posting logic • Web service specifications • Posting rule definitions • Reconciliation procedures |  |
| INT-MDMS-04 | GIS integration for service point validation via REST API | • Service point validation logic • REST API specifications • Error handling procedures • Validation rule framework |  |
| INT-MDMS-05 | Market operator data exchange via standardized file formats | • File format specifications • Exchange schedule design • Validation procedures • Error recovery mechanisms |  |

# 26. TESTING SERVICES

## 26.1 System testing requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TST-01 | Functional Testing - All system functions per requirements with 100% requirement coverage | • Test case design methodology • Requirements traceability matrix • Test coverage approach • Functional test procedures |  |
| TST-02 | Integration Testing - All system interfaces and data flows with successful data exchange validation | • Integration test strategy • Interface test specifications • Data flow validation approach • End-to-end test scenarios |  |
| TST-03 | Performance Testing - Load, stress, and scalability testing to meet all NFR performance metrics | • Performance test methodology • Load testing scenarios • Scalability test approach • Performance benchmarks |  |
| TST-04 | Security Testing - Vulnerability assessment, penetration testing with no critical vulnerabilities | • Security test methodology • Vulnerability scan approach • Penetration test scope • Remediation procedures |  |
| TST-05 | Disaster Recovery Testing - Failover, backup, and recovery procedures to achieve RTO/RPO targets | • DR test scenarios • Failover procedures • Recovery test methodology • RTO/RPO measurement approach |  |
| TST-06 | Regression Testing - System stability after changes with no functionality degradation | • Regression test strategy • Test suite maintenance approach • Automation framework • Change impact analysis |  |

## 26.2 HES-specific testing services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TST-HES-01 | Meter communication testing - Individual meter reading, Group reading commands, Communication retry mechanisms, Multiple protocol testing | • Communication test procedures • Protocol test specifications • Retry logic documentation • Success criteria definitions |  |
| TST-HES-02 | Command execution testing - On-demand reads, Remote disconnect/reconnect, Firmware updates, Configuration changes | • Command test scenarios • Execution validation approach • Firmware update procedures • Configuration test methods |  |
| TST-HES-03 | Load balancing testing - Communication load distribution, Failover scenarios, Peak load handling | • Load distribution strategy • Failover test procedures • Peak load test scenarios • Performance metrics |  |
| TST-HES-04 | Event processing testing - Real-time event capture, Event prioritization, Alert generation | • Event test scenarios • Prioritization logic testing • Alert generation procedures • Real-time validation approach |  |
| TST-HES-05 | Manual data import testing - CSV/XML import, Data validation, Error handling | • Import test procedures • Data format specifications • Validation rule testing • Error scenario coverage |  |

## 26.3 MDMS-specific testing services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TST-MDMS-01 | VEE testing - Validation rule execution, Estimation algorithms, Exception handling | • VEE test methodology • Rule test scenarios • Algorithm validation approach • Exception test cases |  |
| TST-MDMS-02 | Billing integration testing - Data export formats, Billing cycle processing, Exception reporting | • Billing test procedures • Export format validation • Cycle processing tests • Exception report testing |  |
| TST-MDMS-03 | Data aggregation testing - Consumption calculations, Loss calculations, Settlement processing | • Aggregation test scenarios • Calculation validation methods • Settlement test procedures • Accuracy verification approach |  |
| TST-MDMS-04 | Report generation testing - Standard reports, Custom reports, Scheduled distribution | • Report test catalog • Custom report procedures • Schedule test scenarios • Distribution validation |  |
| TST-MDMS-05 | Data archival testing - Archive procedures, Data retrieval, Performance impact | • Archival test methodology • Retrieval test procedures • Performance test approach • Data integrity validation |  |

# 27. TRAINING SERVICES

## 27.1 Training program structure

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TRN-01 | System Administration - IT administrators, 5 days, Classroom + hands-on | • System admin curriculum • Lab environment specifications • Training materials samples • Instructor qualifications |  |
| TRN-02 | HES Operations - HES operators, 4 days, Classroom + hands-on | • HES operations curriculum • Hands-on exercise catalog • Operator skill requirements • Training effectiveness metrics |  |
| TRN-03 | MDMS Operations - MDMS operators, 5 days, Classroom + hands-on | • MDMS operations curriculum • Practice scenarios • Operator competency framework • Assessment methodology |  |
| TRN-04 | Data Analytics - Business analysts, 5 days, Classroom + workshop | • Analytics curriculum outline • Workshop exercise descriptions • Analytics tool documentation • Business case examples |  |
| TRN-05 | Integration Management - Integration team, 3 days, Technical workshop | • Integration curriculum • Technical lab specifications • Interface documentation • Troubleshooting scenarios |  |
| TRN-06 | Report Development - Report developers, 4 days, Hands-on workshop | • Report development guide • Template library • Workshop exercises • Development best practices |  |
| TRN-07 | Executive Overview - Management team, 1 day, Presentation + demo | • Executive presentation outline • Demo scenario scripts • Business value materials • ROI documentation |  |

## 27.2 HES-specific training requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TRN-HES-01 | Communication Management - Protocol configuration, Channel management, Retry mechanisms, Performance tuning | • Communication training manual • Lab exercise descriptions • Protocol documentation • Performance guidelines |  |
| TRN-HES-02 | Meter Operations - Reading procedures, Command execution, Firmware management, Troubleshooting | • Operation guide content • Command scenarios • Firmware procedures • Troubleshooting flowcharts |  |
| TRN-HES-03 | Event Handling - Event configuration, Alert management, Escalation procedures, Reporting | • Event catalog documentation • Alert configuration guide • Escalation procedures • Report templates |  |
| TRN-HES-04 | System Maintenance - Backup procedures, Performance monitoring, Log management, Updates | • Maintenance manual outline • Checklist templates • Monitoring procedures • Update guidelines |  |

## 27.3 MDMS-specific training requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| TRN-MDMS-01 | Data Management - VEE configuration, Data quality monitoring, Exception handling, Manual corrections | • Data management guide outline • VEE configuration examples • Quality metrics documentation • Correction procedures |  |
| TRN-MDMS-02 | Billing Operations - Billing cycles, Rate application, Exception processing, Reconciliation | • Billing procedures manual • Rate configuration guide • Exception scenarios • Reconciliation templates |  |
| TRN-MDMS-03 | Analytics and Reporting - Report creation, Dashboard configuration, Analytics tools, Data export | • Analytics guide content • Report templates • Dashboard examples • Export procedures |  |
| TRN-MDMS-04 | Integration Management - Interface monitoring, Error handling, Data synchronization, Troubleshooting | • Integration manual outline • Interface specifications • Error handling procedures • Sync validation methods |  |
| TRN-MDMS-05 | Balances and statistics: balance reports generating, automatic and manual balance calculations | • Data management guide outline • Balances configuration examples • Quality metrics documentation • Correction procedures |  |

# 28. DOCUMENTATION SERVICES

## 28.1 Technical documentation requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| DOC-01 | System Architecture - Component diagrams, Data flows, Integration points, Security architecture (PDF, Visio, HTML) | • Architecture document template • Diagramming standards • Security documentation approach • Sample architecture documents |  |
| DOC-02 | Installation Guide - Prerequisites, Step-by-step procedures, Configuration, Verification (PDF, HTML) | • Installation guide outline • Procedure documentation standards • Configuration templates • Verification checklist samples |  |
| DOC-03 | API Documentation - Endpoint descriptions, Parameters, Examples, Error codes (OpenAPI, HTML) | • API documentation framework • OpenAPI specification approach • Example generation methodology • Error code catalog template |  |
| DOC-04 | Database Schema - Table structures, Relationships, Indexes, Procedures (PDF, SQL scripts) | • Database documentation approach • Schema generation tools • Relationship mapping standards • Script documentation format |  |
| DOC-05 | Security Guide - Security controls, Best practices, Incident response, Audit procedures (PDF, encrypted) | • Security guide template • Control documentation standards • Incident response templates • Encryption methodology |  |

## 28.2 Operational documentation requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| DOC-06 | User Manuals - Function descriptions, Step-by-step procedures, Screenshots, FAQs (RO, EN) | • User manual templates • Translation methodology • Screenshot standards • FAQ compilation approach |  |
| DOC-07 | Operations Guide - Daily procedures, Monitoring tasks, Troubleshooting, Escalation (RO, EN) | • Operations guide structure • Procedure documentation format • Troubleshooting framework • Bilingual documentation approach |  |
| DOC-08 | Administration Guide - System configuration, User management, Backup procedures, Performance tuning (RO, EN) | • Admin guide outline • Configuration documentation • User management procedures • Performance guidelines |  |
| DOC-09 | Quick Reference Cards - Common tasks, Shortcuts, Emergency procedures, Contact information (RO, EN) | • Reference card templates • Task prioritization approach • Emergency procedure format • Layout design samples |  |
| DOC-10 | Training Materials - Presentations, Lab exercises, Case studies, Assessments (RO, EN) | • Training material framework • Exercise development approach • Case study methodology • Assessment templates |  |

## 28.3 Maintenance documentation

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| DOC-11 | Configuration Baseline - Updated after each change by Vendor/Contractor | • Baseline documentation approach • Version control methodology • Change tracking procedures • Update workflow |  |
| DOC-12 | Change Log - Real-time updates by Vendor/Contractor | • Change log format • Real-time update mechanism • Change categorization • Notification procedures |  |
| DOC-13 | Known Issues List - Weekly updates by Vendor/Support team | • Issue tracking methodology • Weekly update procedures • Categorization framework • Resolution tracking |  |

# 29. CONTRACT MANAGEMENT SERVICES

## 29.1 Contract management requirements

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| PM-01 | Contract Planning - Project plan, WBS, Resource plan, Risk register (Once, updated monthly) | • Project planning methodology • WBS template and approach • Resource allocation framework • Risk management procedures |  |
| PM-02 | Progress Reporting - Status reports, Milestone tracking, Issue log, Change requests (Weekly) | • Reporting template samples • Milestone tracking tools • Issue management procedures • Change control process |  |
| PM-03 | Quality Management - Quality plan, Test reports, Review records, Compliance matrix (Per milestone) | • Quality management framework • Test reporting templates • Review procedure documentation • Compliance tracking methodology |  |
| PM-04 | Stakeholder Management - Communication plan, Meeting minutes, Decision log, Feedback tracking (Ongoing) | • Communication plan template • Meeting management procedures • Decision tracking methodology • Feedback collection approach |  |

# 30. SUPPORT AND MAINTENANCE SERVICES

## 30.1 Post-implementation support

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| SUP-01 | Critical (P1) - 30 minutes response, 4 hours resolution, 24x7 coverage | • P1 incident procedures • 24x7 support team structure • Escalation matrix • Historical P1 performance data |  |
| SUP-02 | High (P2) - 2 hours response, 8 hours resolution, 24x7 coverage | • P2 incident procedures • Support team capabilities • Resolution methodology • Service-level requirements compliance history |  |
| SUP-03 | Medium (P3) - 4 hours response, 2 business days resolution, Business hours coverage | • P3 support procedures • Business hours definition • Ticket management system • Resolution tracking approach |  |
| SUP-04 | Low (P4) - 8 hours response, 5 business days resolution, Business hours coverage | • P4 handling procedures • Priority classification criteria • Queue management approach • Service desk capabilities |  |

## 30.2 Maintenance services

| Req ID | Requirement description | Offer evidence required | Evidences and references (tech. datasheets/documentation, architecture documents, product specifications, etc) |
| --- | --- | --- | --- |
| MNT-01 | Preventive Maintenance - System health checks, optimization (Monthly) | • Preventive maintenance checklist • Health check procedures • Optimization methodology • Maintenance schedule template |  |
| MNT-02 | Corrective Maintenance - Bug fixes, patches (As required) | • Bug tracking procedures • Patch management process • Testing methodology • Release procedures |  |
| MNT-03 | Adaptive Maintenance - Updates for new requirements (Quarterly) | • Change management process • Requirement analysis approach • Update planning methodology • Quarterly review procedures |  |
| MNT-04 | Performance Tuning - Optimization, capacity planning (Quarterly) | • Performance analysis tools • Tuning methodology • Capacity planning approach • Optimization procedures |  |
| MNT-05 | Security Updates - Patches, vulnerability fixes (As released) | • Security update procedures • Vulnerability assessment process • Patch testing methodology • Emergency response plan |  |

Note:

- Bidders must include in their bidding documentation - eligibility criteria declaration that the delivered (proposed) release version of HES+MDM software, inclusive all national customizations will not be EOS(end of support) and EOL(end of life) for next minimum 5 years(60 months) after roll-out(Go-live) on Beneficiary production environment, thus support + maintenance from the Vendor will be available under the same general terms!

The term "licenses" in this context refers to system capacity provisioning as well as operational entitlements for managing the specified number of integrated and connected smart meters within the HES+MDMS platform. This is absolutely distinct from traditional software licensing based on user access or software usage rights.

Vendors may apply different commercial models, including capacity-based licensing(if any) tied to the number of meters managed by the system.

Bidders must clearly disclose their licensing/capacity provisioning model(if any) and ensure that all costs—whether termed as licenses, capacity or otherwise countable items —necessary to support the full operational capacity for 55,000 metering points are transparently itemized in their financial proposal from contract commencement.

The Contractor shall deliver complete source code for all customizations, adjustments, and integrations developed under this Contract. This includes all custom modules, integration components, business rules implementations, and country-specific adaptations. The source code shall be well-documented, include all dependencies, build scripts, and deployment procedures. The Contractor grants to UNDP a perpetual license to use such intellectual property or other proprietary right solely for the purposes of and in accordance with the requirements of the Contract and the nonrevocable right to sublicense such use to the End-Users (PED and RED-Nord). To the extent that any such intellectual property or other proprietary rights consist of any intellectual property or other proprietary rights of the Contractor: (i) that pre-existed the performance by the Contractor of its obligations under the Contract, or (ii) that the Contractor may develop or acquire, or may have developed or acquired, independently of the performance of its obligations under the Contract, UNDP does not and shall not claim any ownership interest thereto.